## Front pages
INFORMATION OF THE SANITATION SAFETY PLANNING AUDIT (Attachment: II)
SEWERAGE SCHEME/ SEWERAGE TREATMENT PLANT
LOCATION:
NO. OF CONNECTIONS
NUMBER OF PEOPLE SERVED APPROXIMATELY
PRIMARY SUPPLIER CONTACT DURING ASSESSMENT
ASSESSOR INFORMATION
DATE
ASSERSSOR NAME(s)
SECTION | Water Reclamation Division

## Marks
THE SANITATION SAFETY PLANNING AUDIT SCORING GUIDANCE FOR ASSESSORS
No. | Question & Scoring guidance for assessors | Score (4) |  |  |  | Comment / justification
|  | A | B | C | D (Total)
Module 1: Prepare for Sanitation Safety Planning (SSP)
Objective: Identify the SSP coverage areas, Assemble an appropriate team of professionals with knowledge and experience in all aspects of the Sanitation System and sufficient decision-making authority to develop and implement the SSP including defining their roles.
1.1 | Is there a identified SSP area and lead organization? | -2 | -2 |  | -4
A and B | 1) Is there an identified SSP area (e.g. administrative unit)? ( 02 marks)
| 2) Is there a lead organization in the identified SSP area? ( 02 marks) |  |  |  | 0
1.2 | Is there a documented SSP team and is the team list current and functions adequately covered? | -2 | -2 |  | -4
A | 1) Is there a documented multidisciplinary SSP Team and representing all the key areas (compare this list documented in the SSP and checked with team members during auditing)? and their functions adequately covered for all key components? (01 mark)
2) Was the SSP Team involved in every SSP step? (01 mark)
B | 3) Is the documented SSP Team current and accurate (key functions defined, new member added or resigned member deleted) (01 mark)
| 4) Do the team members fully understand the SSP process and specific SSP responsibilities? (01 mark) |  |  |  | 0
1.3 | Are appropriate organizations/ stakeholders represented on the team? | -1 | -3 |  | -4
A and B | 1) Are appropriate external and internal stakeholders completely represented in the team? (02 marks)
B | 2) Is there evidence of collaboration with appropriate stakeholders, where the SSP team is not responsible for the entire scheme? (01 mark) |  |  |  | 0
1.4 | Does the team include people with the authority to carry out SSP recommendations as well as technical staff with relevant technical skills? | -1 | -2 | -1 | -4
A, B and C | 1) Does the team include both balanced SSP team of technical staff to capture inputs and ensure awareness, procurement etc., and management staff with the authority in matters related budget and operations to initiate changes, improvements and updates? (03 marks, deduct marks for key position/discipline missing)
B | 2) Is the team supported and empowered by senior management? (01 marks) |  |  |  | 0
1.5 | Is there evidence that regular team meetings are held and recorded? |  | -4 |  | -4
B | 1) Does the team meets regularly on pre planned dates according to the meeting schedule in the SSP document and after an incident has occurred (evidence records such as meeting minutes records for the audit period of at least one year)? (01 mark, deduct for less periods)
2) Are the team meetings outcomes and decisions documented (Evidence: meeting minutes) (01 mark)
3) Is the team leader a member of senior management or, if not, are they having regular briefings with senior management? (01 mark)
| 4) Does the SSP team regularly report the outcomes of the SSP process to other relevant staff in the scheme (01 mark) |  |  |  | 0
1.6 | Established the priorities | -2 | -2 |  | -4
A | 1) Have been excreta flow diagrams or SaniPath used to identify SSP priorities? (01 mark)
B | 2) Is the steering committee supported and empowered by senior management? (01 mark) |  |  |  | 0
Module 2: Describe the Sanitation System
Objective: Thoroughly describe How does the sanitation service chain work?, Who is at risk? To understand and inform the risk assessment.
2.1 | Are clear maps and schematics of the complete Sanitation system included? | -3 | -1 |  | -4
A | 1) Are there detailed maps (level-1 & 2) and description of the sanitation system to understand the source and path of flows through the system with clear demarcation of specific boundary, (schematics to confirm clarity and consistency, note any errors, missing or inconsistencies)? (01 mark)
2) Does description include the characterize system flows, climate change impact, incident or emergency arrangements, in addition to normal sanitation system? (01 mark)
3) Does the description identifies and characterizes exposed groups in terms of who they are, how many there are, where are they in the system and how exposure occurs. (01 mark)
B | 4) Is the description up to date, comprehensive, accurate and understood by all relevant staff by conducting site visits to confirm the accuracy and completeness of the description. Discuss the schematic details with staff and ask them if there have been any changes (01 mark) |  |  |  | 0
2.2 | Are all major steps in the sanitation system chain described and confirmed in the system description? | -2 | -1 | -1 | -4
A and C | 1) Does it cover all steps thoroughly, accurately with adequate information from collection to waste disposal and reuse and their practices (wherever appropriate)? (02 marks)
2) Does it cover current quality issues, flow variations, household practices? (01 mark)
B | 3) Were field visit conducted to verify the accuracy of information provided in the SSP document? (01 mark) |  |  |  | 0
2.3 | Are receiving sources, reuse of the treated effluent and sludge defined? | -2 | -2 |  | -4
A and B | 1) Are identified exposure groups (including major discharging entity, diverse group i.e. diversity in service level, wealth, age, health, sex and gender) in the system described? (02 marks, deduct for missing or incorrect exposure group)
B | 2) Are identified use of effluent/ sludge from the system (including reuse of treated effluent, application of sludge, ect.) and the conditions of the effluent/sludge described? (02 marks, deduct for missing or incorrect intended application or uses) |  |  |  | 0
2.4 | Are receiving wastewater quality and effluent disposal standards and targets described? | -3 |  | -1 | -4
A | 1) Does the SSP include the nationally- relevant quality standards (e.g. SLS is thoroughly/accurately referenced) that the disposal of effluent / Sludge must meet? (01 mark, deduct for out of dated standards or no reference to standards in the SSP)
2) Does the SSP define specific targets (more stringent than standards) that the system expected to meet and for each process steps based on treatment capacity? (01 mark, deduct for no reference to targets or inappropriate targets in the SSP)
C | 3) Do they gather supporting information – involves collecting and documenting system context, such as legal and regulatory requirements; historical monitoring and compliance data; and information on climate, cultural practice and the efficiency of the system and system components. (01 mark) |  |  |  | 0
Module 3: Identify hazardous events, and assess existing control measures and exposure risks
Objective: Identify hazards/hazardous events and assess, the existing control measures in place and their effectiveness and the related significant risk in sanitation process to determine if improvements are needed.
3.1 | Has the risk assessment approach been clearly described? | -4 |  |  | -4
A | 1) Are the method and basis for the risk assessment, including key terminology and definitions (e.g. how likelihood and severity are defined) clearly described? (01 mark)
2) Is the risk assessment derived from the likelihood of the hazardous event occurring and the severity of ist consequences? (01 mark)
3) Is this methodology applied consistently for all possible identified Hazards? (01 mark)
| 4) Have all identified hazards and hazardous events been assigned a risk? (01 mark) |  |  |  | 0
3.2 | Have all significant hazards been identified at all major steps? | -2 | -2 |  | -4
A | 1) Have all major hazards and hazardous events in normal and abnormal events such as historical and potential future events and climate change impacts affecting sanitation been identified and well documented? (Consider, in addition to the risk to public health and potential problems associated in the risk assessment process). (01 mark)
2) Were hazards and hazardous events derived from SSP team members, consulting the relevant external stakeholders, confirmed by field visits, compliance with the effluent discharge standards, historical satisfactory, uncertainty of climate impacts etc.? (01 mark)
B | 3) Have hazards and hazardous event been identified for all components included in the system description? (01 mark)
| 4) Does the list of hazards and hazardous event appear to be customized/site specific? (01 mark) |  |  |  | 0
3.3 | Have existing control measures been identified an validated? | -2 | -2 |  | -4
A | 1) Have existing control measures been systematically identified and documented for each hazards and hazardous event? (01 mark)
2) Has each existing control measure been validated to confirm its effectiveness in mitigating the risk including the climate change impacts? (01 mark)
B | 3) Are the validation procedures adequate to confirm the effectiveness of control measures in place and documented? (01 mark)
| 4) Are the staff members responsible for the control measures and fully aware of these critical activities? (01 mark) |  |  |  | 0
3.4 | Has the risk been logically and systematically assessed for all hazards identified? | -2 | -2 |  | -4
A | 1) Is the risk assessment well documented based on the specified methodology (the risk scoring is clear, consistently applied and logical)? (01 mark)
2) Have risks been assessed to reflect existing control measures and their effectiveness? (01 mark)
B | 3) Is the risk assessment plausible and substantiated by documented operational, technical and scientific evidence? (01 mark)
| 4) Does the risk assessment process indicates the clear understanding of SSP Team? (01 mark) |  |  |  | 0
3.5 | Is it clear which hazards require additional control or improvement? | -4 |  |  | -4
A | 1) Have risk assessment clearly indicates which hazards require additional control or improvements? (01 mark)
| 2) Does additional controls needed be clearly separated from the existing control documented? (01 marks, deduct marks for existing and proposed controls are mixed together) |  |  |  | 0
Module 4: Develop and implement an incremental Improvement plan
Objective: Plan improvements based on system needs and priorities identified through the risk assessment process
4.1 | Has an improvement plan been developed that is clearly linked to the risk assessment process? | -4 |  |  | -4
A | 1) Is there a documented improvement plan for each uncontrolled or insufficient controlled significant risk? (01 mark)
2) Does the identified plan follow directly from the risk assessment process (based on prioritised risk score/ Band)? (01 mark)
3) Is there a clear and direct link between the risk assessment and the improvement plan? (01 mark)
| 4) Are the planned improvements adequate to address all identified risks including future climate risks? (01 mark) |  |  |  | 0
4.2 | Does the improvement plan describe the action, responsible party, cost, funding source and due date? | -4 |  |  | -4
A | 1) Are the improvements plan specific to facilitate action, practical, feasible and affordable? (01 mark)
2) Has each improvement been assigned to a member of the SSP team or other responsible party (to be communicated to those whose support is needed) (01 mark)
3) Is there a schedule with target due/completion date for each improvement and is this realistic? If major, long term improvements are necessary, have possible short term (interim) measures been identified? (01 mark)
| 4) Is the improvement plan include cost and/or funding source supported by adequate funding ? (01 mark) |  |  |  | 0
4.3 | Is the improvement plan being carried out as documented and kept up-to-date? | -1 | -2 | -1 | -4
A | 1) Does the status of the improvements been revisited and updated by the SSP team (e.g. that completed works are marked as completed or the schedules have been updated) ? (01 mark)
B | 2) Has the improvement plan been acknowledged and endorsed by senior management? (01 mark)
B and C | 3) Are the improvements being implemented as per the defined schedule (Check evidence, discuss to gauge the degree of implementation, little use if it is not being implemented)? (02 marks, deduct for out dated and not being followed or there is no improvement plan) |  |  |  | 0
Module 5: Monitor control measures and verify performance
Objective: Describe monitoring to be carried out to ensure that key sanitation system components and control measures continue to work effectively and Confirm that quality standards are being met, consumers are satisfied and the SSP is complete and effective.
| 5.1 Has an operational monitoring been documented addressing quality monitoring and visual inspection by the Service Provider? | -4 |  |  | -4
A | 1) Is the operational monitoring plan documented to confirm control measure effectiveness and is distinct from compliance monitoring by health officials or regulators to confirm that health-based standards or targets are being met (Verification)? (01 mark)
2) Does the operational monitoring plan cover all existing control measures (including visual inspections, e.g. checking fences, manhole, etc., as well as water quality testing. Where possible, the Service Provider should monitor quality at appropriate locations for operational decisions? ( 01 mark)
3) Does the operational monitoring plan specify monitoring parameters (e.g. turbidity, pH, chlorine), monitoring locations, frequency, and responsible party for carrying out operational monitoring? (01 mark)
| 4) Are there documented corrective actions (feasible and able to be performed timely manner) that need to be taken when operational targets conditions and/or critical limits are not met/ breached? (01 mark) |  |  |  | 0
5.2 | Is the Service provider carrying out operational monitoring as per the documented plan for “significant risks”? |  | -3 | -1 | -4
B | 1) Do monitoring records (e.g. quality log books and site inspection check lists for the audit period) demonstrate that operational monitoring is carried out in accordance with the plan (including corrective actions)? (01 mark)
2) Are the staff members responsible for operational monitoring and aware of their responsibilities and perform their duty accordingly? (01 mark)
3) Is the review of operational monitoring results done consistently and in a timely manner to inform operational decisions? (01 mark)
C | 4) Is there complete records or real-time monitoring results that clearly indicate full compliance with the monitoring plan for the audit period? (01 mark, deduct for shorter periods) |  |  |  | 0
5.3 | Has a compliance monitoring plan been documented? | -3 | -1 |  | -4
A | 1) Is the compliance monitoring plan documented and distinct from operational monitoring? (01 mark)
2) Do the monitoring locations defined and monitored accordingly? ( 01 mark)
3) Is it clear who is responsible for compliance monitoring and reviewing the results of compliance monitoring? ( 01 mark)
B | 1) Is the monitoring frequency is specified and carried out accordingly ? (01 mark) |  |  |  | 0
5.4 | Is compliance monitoring being carried out as planned? |  | -4 |  | -4
B | 1) Do records demonstrate for the audit period that compliance monitoring is carried out in accordance with the plan and complete records clearly indicate full compliance? ( 01 mark)
2) Is the review of compliance monitoring results done consistently and in a timely manner? ( 01 mark)
3) Are compliance monitoring data communicated in accordance with agreed communication protocols and time frames? ( 01 mark)
| 4) Have any actions related to the result of compliance monitoring verification activities been undertaken, and if so, are they appropriate? (01 mark) |  |  |  | 0
5.5 | Are quality standards and targets being met? | -1 | -2 | -1 | -4
A, B and C | 1) Do compliance monitoring records indicate that effluent quality targets are being achieved? If not, the SSP is not achieving a primary objective. The assessor should review available water quality records for the audit period (at least one year) and calculate compliance rates for key quality indicators, e.g. faecal coliforms. Score 3, 2 or 1 for compliance with standards of >95% ; >85% ; >75% respectively based on the records. (03 marks)
| 2) Are corrective actions documented during non-complying events (not meeting the quality targets and are they followed in practice? ( 01 mark) |  |  |  | 0
5.6 | Does the Service Provider have a documented and implemented system of regularly monitoring and recording consumer satisfaction? | -1 | -3 |  | -4
A | 1) Is there a documented plan (e.g. customer surveys covering gender and other social stratifiers or complaints logs) in SSP to assess consumer satisfaction with the service provision? (01 mark)
B | 1) Do records demonstrate (evidence) that consumer satisfaction monitoring is carried out in accordance with the plan? (01 mark)
3) Is it clear who is responsible for consumer satisfaction monitoring and managing & reviewing consumer satisfaction monitoring results? (01 mark)
| 4) If 75% of consumer satisfied or have any actions related to the results of consumer satisfaction verification activities been undertaken and if so, are they appropriate? (01 mark) |  |  |  | 0
5.7 | Has a plan for internal & External SP auditing been defined and is it being implemented? | -2 | -2 |  | -4
A | 1) Is the auditing plan documented (define the frequency) ? (01 mark)
2) Is it clear who is responsible for initiating and performing internal and external audits? (01 mark)
B | 3) Have internal and external audits been undertaken regularly (evidence) at the frequency indicated in the SSP? (01 mark)
| 4) Is there evidence that audit follow up action is consistently taken (Any actions related to the result of audits verification activities been undertaken and, if so, are they appropriate)? (01 mark) |  |  |  | 0
Develop Management Procedure, supporting programs and review plans
Objective: Define Management procedures to be followed during routine operations and emergency situations, Identify programmes that indirectly support sanitation safety, ensure that the SSP remains up-to-date and effective through regular review and revision.
5.8 | Have clear SOPs been defined for major operational activities? | -1 | -2 | -1 | -4
A, B and C | 1) Are clear and detailed Standard Operating Procedures (SOPs) documented clearly for the majority of the key operational activities?. The assessor shall make a general list of key operational activities for which SOPs should be developed (e.g. treatment process, pipeline repair and replacement, connection, equipment calibration, etc.) (03 marks, deduct marks for not sufficient detail to guide to field staff)
| 2) Do the SOPs cover normal and incident operations? (01 mark) |  |  |  | 0
5.9 | Are SOPs up-to-date and accessible to field staff? |  | -2 | -2 | -4
B | 1) Were SOPs written accurately and compiled by appropriately qualified personnels by reviewing a sample SOPs in detail? (01 mark)
2) Are SOPs regularly reviewed and kept up to date, particularly in response to improvements, incidents and near misses? (01 mark)
C | 3) Are SOPs readily available /easily accessible to use / refer to every one who needs them (not in office or of little use to field staff)? (01 mark)
| 4) Is there evidence that SOPs are well understood and followed by operational/ field staff? (01 mark) |  |  |  | 0
6 | Does the SSP include a current emergency response plan? (ERP) | -4 |  |  | -4
A | 1) Are Emergency Response Plan (ERP) documented clearly describing quality emergencies that would trigger implementation of the plan including weather emergencies? (01 mark)
2) Does ERP describe the up-to-date contact information (names, positions and contact details) of persons within the Service Provider and stakeholders (e.g. Health officials) to be notified during emergencies? (01 mark)
3) Does ERP has communication protocols (for disseminating emergency messages to consumers or and rehearsal? (01 mark)
| 4) Are the feasible procedures established for incident and emergency situations and able to be performed in a timely manner? (01 mark) |  |  |  | 0
6.1 | Have appropriate supporting programmes been clearly defined? | -3 | -1 |  | -4
A and B | 1) Has the Service Provider clearly defined and documented appropriate supporting programs (operator training, training on Preventive Maintenance Program (PMP), Calibration equipment, Research and Development and consumer/public education) compared with a general list prepared by the assessor? (02 marks)
A | 2) Is there a documented implementation schedule for the supporting programs? (02 marks) |  |  |  | 0
6.2 | Are supporting programmes being implemented as planned? |  | -2 | -2 | -4
B | 1) Are all relevant personnel aware of all these supportive programs? (01 mark)
C | 2) Is there evidence that supporting programs are implemented in accordance with the SSP? (01 mark)
B | 3) Does the Service Provider have a system to identify and address gaps in knowledge or skills (climate-resilient safety) in its work force, and is there evidence that this system is effective? (01 mark) |  |  |  | 0
6.3 | Is the SSP being reviewed and revised as planned? | -1 | -3 |  | -4
A | 1) Is there evidence that reviews and revision have been carried out as per the review schedule defined in the SSP (e.g. minutes from review meetings and or old/updated versions of the SSP) and is the frequency of review appropriate? (02 marks)
B | 2) Is there evidence that appropriate stakeholders involved in the review, incident and near misses led to change in the SSP? (01 mark)
| 3) Is there evidence that the results of previous internal and external audits were considered by the SSP team during the review and revision process? (01 mark) |  |  |  | 0
Note: A = Desk Review of the SSP document, B = Interview & Records, C = Field Visit , D = Total
Marks can be assigned at assessor’s discretion for “in between” situations with multiple of 0.5 (0, 0.5, 1.0 etc.)

## Sum
Assessment Summary: SANITATION SAFETY PLANNING
Assessment area / SSP element | Tips for assessor and scoring guidance | Current qualitative assessment
| Points possible | Points received
1. Prepare for SSP | 24 | 0
2. Describe the Sanitation System | 16 | 0
3. Identify hazardous events, and assess existing control measures and exposure risks | 20 | 0
4. Develop and implement an incremental plan | 12 | 0
5. Monitor control measures and verify performance | 28 | 0
6. Develop supporting programs and review plan | 24 | 0
GRAND TOTAL SCORE: | 124 | 0
Grand total score category:
Circle grand total score below:
115 - 124 Excellent
103 - 114 Very good
91 - 102 Good
79 - 90 Average
61 - 78 Below average
≤ 60 Priority attention needed